## Sheet1
| Component | Subsystem | Metric | Krematorium Hüls Ahu02 Lüftungsanlage Umkleide Vermutlich nicht ausgeführt | Krematorium Hüls Asu1 Zuluft Krematorium Keller | Schule Barbarastraße RLT01 | Centre Charlemagne RLT01 | Kita Kollenbruch RLT01 | Kita Stettiner Straße RLT01 | Krematorium Hüls Ahu01 Lüftungsanlage Trauerhallen | Centre Charlemagne RLT02 | Centre Charlemagne RLT03 | Centre Charlemagne RLT04 | Centre Charlemagne RLT06 | Kita Händelstraße RLT01 | Kita Händelstraße RLT02 | Krematorium Hüls Aex01 Abluftanlage Nebenräume | Krematorium Hüls Aex01 Abluftanlage Trockenraum | Krematorium Hüls Aex02 Abluftanlage Umkleiden | Krematorium Hüls Ahu01 Lüftungsanlage Grabutensilien | RLT 09-10 | RLT 01
Supply fan - operating message |  |  |  |  | x | x | x | x |  | x | x | x | x | x | [6 empty] | x | x
Filter - alarm message |  |  |  |  | x |  | x |  |  | x
Operating message |  |  |  | x | x | [9 empty] | x | x | x | x | x | x
Air heater - operating message | [5 empty] | x | x |  |  | x
Air heater - pump operating message | [5 empty] | x | x |  |  |  |  | x | x | x | [6 empty] | x
Exhaust fan - operating message | [6 empty] | x | x |  | x | x | x | x | x | [6 empty] | x | x
Air re-heater - operating message | [6 empty] | x
Air re-heater - pump operating message | [12 empty] | x | x |  | x
Air cooler - operating message | [6 empty] | x
Air cooler - pump operating message | [12 empty] | x | x | [6 empty] | x
Supply humidifier - operating message | [6 empty] | x | [6 empty] | x
Supply fan - operating message
Alarm message |  |  |  | x |  |  |  | x | x | [5 empty] | x | x
Supply fan - speed | [6 empty] | x | x |  |  | x | x | x | x
Exhaust fan - speed | [6 empty] | x |  |  |  | x | x | x | x
Supply fan - volume flow | [7 empty] | x | x | [6 empty] | x
Exhaust fan - volume flow | [7 empty] | x | x | [6 empty] | x
Exhaust fan - electrical power | [8 empty] | x
Supply fan - electrical power | [8 empty] | x
Exhaust fan - pressure difference | [15 empty] | x
Supply fan - pressure difference | [15 empty] | x
Outside air temperature (weather station) |  |  |  | x | x | x | x | x | x | x | x | x | x | x | x |  |  | x | x | x
Outside air temperature (AHU) |  |  |  | x | x |  |  | x |  | x | [5 empty] | x |  |  |  |  | x | x
Extract air temperature |  |  |  | x |  | x |  | x | x | [5 empty] | x | x |  | x
Extract air temperature setpoint | [8 empty] | x
Exhaust air temperature |  |  |  | x |  |  | x | [8 empty] | x
Supply air temperature |  |  |  | x | x | x | x | x | x | x | x | x | x | x | x | x |  |  |  | x | x | x
Supply air temperature setpoint |  |  |  |  | x | x | x | x | x | x |  |  |  | x | x | x |  |  |  | x | x | x
Supply air temperature setpoint maximum | [6 empty] | x | x | x | [6 empty] | x
Supply air temperature setpoint minimum | [6 empty] | x | x | x | [6 empty] | x
Air re-heater - valve position | [14 empty] | x | x
Recirculation damper - control signal | [9 empty] | x
Air re-heater - valve control signal | [6 empty] | x | [5 empty] | x | x
Air heater - valve control signal |  |  |  |  | x | x | x |  |  | x |  | x | x | x | [6 empty] | x | x
Air cooler - valve control signal | [6 empty] | x | [5 empty] | x | x | [6 empty] | x
Outside air relative humidity | [6 empty] | x | [6 empty] | x
Supply air relative humidity | [6 empty] | x | [5 empty] | x | x
Exhaust duct pressure | [6 empty] | x
Exhaust duct pressure setpoint | [6 empty] | x
Supply duct pressure | [6 empty] | x
Supply duct pressure setpoint | [6 empty] | x
Heat recovery system - utilization level setpoint | [6 empty] | x |  |  |  | x |  |  | x | [6 empty] | x
Supply air temperature after heat recovery system | [6 empty] | x | [8 empty] | x